## Hmi Tags
Name | Path | Connection | PLC tag | DataType | HMI DataType | Length | Access Method | Address | Start value | Persistency | Substitute value | ID tag | Comment [en-US] | Acquisition mode | Acquisition cycle | Limit Upper 2 Type | Limit Upper 2 | Limit Lower 2 Type | Limit Lower 2 | Linear scaling | End value PLC | Start value PLC | End value HMI | Start value HMI | Gmp relevant | Confirmation Type | RequiredFunctionRights | Mandatory Commenting | Scope
RP1_FLTCode | Alarm_tag | <No Value> | <No Value> | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RP1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD5_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD5 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT5.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT5.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SEP1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SEP1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
Auto1.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for Auto1.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT36.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT36.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT5.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT5.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT5.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT5.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RP2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RP2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD6_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD6 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL9_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL9 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT6.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT6.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SEP2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SEP2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
Auto1.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for Auto1.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
Auto2.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for Auto2.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
Auto2.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for Auto2.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT6.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT6.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT6.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT6.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT15.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT15.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT15.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT15.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD15_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD15 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD39_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD39 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SLA2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SLA2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SLA1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SLA1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT7.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT7.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT9.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT9.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD9_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD9 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT9.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT9.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD7_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD7 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT7.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT7.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT7.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT7.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
DR4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for DR4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
DR1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for DR1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL30_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL30 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR12_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR12 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD11_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD11 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT11.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT11.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT11.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT11.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT11.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT11.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL8_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL8 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL7_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL7 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL6_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL6 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL5_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL5 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT36.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT36.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD36_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD36 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT36.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT36.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD19_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD19 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD18_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD18 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR6_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR6 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
Vl11_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for Vl11 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL10_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL10 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL12_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL12 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT30.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT30.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT30.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT30.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD30_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD30 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA5_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA5 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT21.4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT21.4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT24.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT24.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT24.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT24.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT21.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT21.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT21.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT21.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT21.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT21.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD27_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD27 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD21_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD21 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD24_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD24 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD33_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD33 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SLA4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SLA4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SLA3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SLA3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT10.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT10.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT8.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT8.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT10.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT10.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD16_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD16 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD10_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD10 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD8_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD8 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL15_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL15 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
DR2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for DR2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
DR3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for DR3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT8.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT8.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT8.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT8.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR5_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR5 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD14_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD14 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD13_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD13 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT12.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT12.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT12.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT12.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD12_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD12 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD17_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD17 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL16_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL16 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT14.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT14.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT14.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT14.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL18_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL18 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL17_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL17 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT18.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT18.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT18.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT18.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT19.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT19.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT35.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT35.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT35.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT35.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL29_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL29 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL14_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL14 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL13_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL13 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT19.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT19.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD20_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD20 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR7_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR7 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD35_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD35 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL19_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL19 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD22_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD22 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD34_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD34 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD25_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD25 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT22.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT22.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT22.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT22.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT22.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT22.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT22.4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT22.4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT25.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT25.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT25.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT25.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT31.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT31.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT31.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT31.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD28_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD28 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD31_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD31 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA8_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA8 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA7_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA7 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA6_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA6 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA10_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA10 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA9_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA9 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL20_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL20 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD23_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD23 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD26_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD26 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD32_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD32 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD29_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD29 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT32.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT32.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT32.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT32.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT23.4_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT23.4 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT23.3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT23.3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT23.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT23.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT23.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT23.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT26.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT26.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT26.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT26.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA15_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA15 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA14_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA14 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA13_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA13 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA12_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA12 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SPA11_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SPA11 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL24_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL24 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL25_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL25 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL22_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL22 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR8_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR8 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR9_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR9 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR10_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR10 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
NR11_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for NR11 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD37_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD37 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL26_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL26 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL27_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL27 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT20.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT20.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT38.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT38.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT20.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT20.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
GT38.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for GT38.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
SEP3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for SEP3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
ARB2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for ARB2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
ARB1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for ARB1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
Auto3.2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for Auto3.2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
Auto3.1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for Auto3.1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL21_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL21 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL28_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL28 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
VL23_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for VL23 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
RD38_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for RD38 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
ZHD_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for ZHD | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
FN3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for FN3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
FN2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for FN2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
FN1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for FN1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
FD3_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for FD3 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
FD2_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for FD2 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide
FD1_FLTCode | Alarm_tag |  |  | UINT | UINT | 2 | Read | <No Value> | <No Value> | False | <No Value> | 0 | Fault code for FD1 | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 65535 | 0 | 65535 | 0 | False | None | <No Value> | False | System-wide