## DiscreteAlarms
ID | Name | Alarm text [en-US], Alarm text 1 | FieldInfo [Alarm text 1] | Class | Trigger tag | Trigger bit | Trigger mode | Acknowledgement tag | Acknowledgement bit | PLC acknowledgement tag | PLC acknowledgement bit | Priority | Info text [en-US], Info text | Additional text 1 [en-US], Alarm text 2 | FieldInfo [Alarm text 2] | Additional text 2 [en-US], Alarm text 3 | FieldInfo [Alarm text 3] | Additional text 3 [en-US], Alarm text 4 | FieldInfo [Alarm text 4] | Additional text 4 [en-US], Alarm text 5 | FieldInfo [Alarm text 5] | Additional text 5 [en-US], Alarm text 6 | FieldInfo [Alarm text 6] | Additional text 6 [en-US], Alarm text 7 | FieldInfo [Alarm text 7] | Additional text 7 [en-US], Alarm text 8 | FieldInfo [Alarm text 8] | Additional text 8 [en-US], Alarm text 9 | FieldInfo [Alarm text 9] | Additional text 9 [en-US], Alarm text 10 | FieldInfo [Alarm text 10] | Alarm parameter 1 | Alarm parameter 2 | Alarm parameter 3 | Alarm parameter 4 | Alarm parameter 5 | Alarm parameter 6 | Alarm parameter 7 | Alarm parameter 8 | Alarm parameter 9 | Alarm parameter 10 | Area | Origin
1 | ARB1_Breaker | Спрацював АВ |  | Alarm | ARB1_FLTCode | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming
2 | ARB1_Overflow | Датчик підпору |  | Alarm | ARB1_FLTCode | 1 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming
3 | ARB1_Speed | Датчик швидкості |  | Alarm | ARB1_FLTCode | 2 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming
4 | ARB1_Alingment | Датчик сходу стрічки |  | Alarm | ARB1_FLTCode | 3 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming
5 | ARB1_TimeOut | Тайм-аут переміщення |  | Alarm | ARB1_FLTCode | 4 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming
6 | ARB1_PosUnknown | Невизначена позиція |  | Alarm | ARB1_FLTCode | 5 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming
7 | ARB1_Feedback | Відсутній зворотній зв’язок з контактору |  | Alarm | ARB1_FLTCode | 8 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming