## Hmi Tags
Name | Path | Connection | PLC tag | DataType | HMI DataType | Length | Access Method | Address | Start value | Persistency | Substitute value | ID tag | Comment [en-US] | Acquisition mode | Acquisition cycle | Limit Upper 2 Type | Limit Upper 2 | Limit Lower 2 Type | Limit Lower 2 | Linear scaling | End value PLC | Start value PLC | End value HMI | Start value HMI | Gmp relevant | Confirmation Type | RequiredFunctionRights | Mandatory Commenting | Scope
Slot_ID | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
SelectedTab | Common | <No Value> | <No Value> | USInt | USInt | 1 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
row_index | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Mailbox_Manual_REQ | Common | HMI_Connection_1 | DB_PlcScada_MailBox.Req | UDT_MailBox_Req | UDT_MailBox_Req | 0 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T500ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
BaseMechs | Common | HMI_Connection_1 | DB_Mechs.Mechs[0] | UDT_BaseMechanism | UDT_BaseMechanism | 0 | Symbolic access | DB_Mechs.Mechs[Slot_ID] | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T500ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Mailbox_Manual_ACK | Common | HMI_Connection_1 | DB_PlcScada_MailBox.Ack | UDT_MailBox_Ack | UDT_MailBox_Ack | 0 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T500ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
GrainType_Silos | Common | HMI_Connection_1 | DB_Mechs.Silos[0].GrainType | Int | Int | 2 | Symbolic access | DB_Mechs.Silos[Silos_ID].GrainType | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Silos_ID | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
GrainType_Pit | Common | HMI_Connection_1 | DB_Mechs.ReceivingPit[2].GrainType | Int | Int | 2 | Symbolic access | DB_Mechs.ReceivingPit[Pit_ID].GrainType | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Pit_ID | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Redler_ID | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StartDelay_Redler | Common | HMI_Connection_1 | DB_Mechs.Redler[0].StartDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Redler[Redler_ID].StartDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StopDelay_Redler | Common | HMI_Connection_1 | DB_Mechs.Redler[0].StopDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Redler[Redler_ID].StopDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StopDelay_Noria | Common | HMI_Connection_1 | DB_Mechs.Noria[0].StopDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Noria[Noria_ID].StopDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StopDelay_Separator | Common | HMI_Connection_1 | DB_Mechs.Separator[0].StopDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Separator[Separator_ID].StopDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StartDelay_Noria | Common | HMI_Connection_1 | DB_Mechs.Noria[0].StartDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Noria[Noria_ID].StartDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StartDelay_Separator | Common | HMI_Connection_1 | DB_Mechs.Separator[0].StartDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Separator[Separator_ID].StartDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Noria_ID | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Separator_ID | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StartDelay_Fan | Common | HMI_Connection_1 | DB_Mechs.Fan[0].StartDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Fan[Fan_ID].StartDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StopDelay_Fan | Common | HMI_Connection_1 | DB_Mechs.Fan[0].StopDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Fan[Fan_ID].StopDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StartDelay_Feeder | Common | HMI_Connection_1 | DB_Mechs.Feeder[0].StartDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Feeder[Feeder_ID].StartDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
StopDelayFeeder | Common | HMI_Connection_1 | DB_Mechs.Feeder[0].StopDelayMs | DInt | DInt | 4 | Symbolic access | DB_Mechs.Feeder[Feeder_ID].StopDelayMs | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | Constant | 100 | Constant | 0 | True | 100000 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Fan_ID | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
Feeder_ID | Common | <No Value> | <No Value> | Int | Int | 2 | <No Value> | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T1s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide

## Substitute Value Usage
HMI Tag name | Substitute Value Usage